(Published in Lincoln Sentinel Republican on May 20, 2021)

**ORDINANCE NO.** **729**

**AN ORDINANCE AMENDING CHAPTER 15 OF THE CITY CODE OF THE CITY OF LINCOLN CENTER, KANSAS BY AMENDING EXISTING SECTION 15-422 TO CLARIFY THE WATERS OR WASTES THAT ALL PERSONS SHALL BE PROHIBITED FROM DISCHARGING INTO ANY PUBLIC SEWER WITHIN THE CITY OF LINCOLN CENTER, KANSAS.**

BE IT ORDAINED, BY THE GOVERNING BODY OF THE CITY OF LINCOLN CENTER, KANSAS:

**SECTION 1.** Section 15-422 of the City Code of the City of Lincoln Center, Kansas is hereby amended to read as follows:

**15-422. PROHIBITED DISCHARGES.** No person shall discharge any of the following waters or wastes to any public sewer:

1. Liquid or vapor having a temperature higher than 150 degrees Fahrenheit;
2. Water or waste which may contain more than 100 parts per million, by weight, of fat, oil, or grease;
3. Gasoline, benzene, naphtha, fuel oil, or other flammable or explosive liquid, solid, or gas;
4. Garbage that has not been properly shredded;
5. Any solid or viscous substance capable of causing obstructions to the flow in sewers, or other interference with the proper operation of the sewage works such as, but not limited to ashes, cinders, sand, mud, straw, shavings, grass clippings, spent lime, stone or marble dust, spent grains, spent hops, metal, glass, rags, feathers, tar, plastics, wood, paunch manure, animal guts or tissues, bones, hair, hides, fleshings, entrails, or whole blood;
6. Waters or wastes having a pH lower than 5.5 or higher than 9.0 or having any other corrosive property capable of causing damage or hazard to structures, equipment and personnel of the sewage works;
7. Waters or wastes containing a toxic poisonous substance in sufficient quantity to injury or interfere with any sewage treatment process, constitute a hazard to humans or animals, or create any hazard in the receiving waters of the sewage treatment plant;
8. Water or wastes containing suspended solids of such character and quantity that unusual attention or expense is required to handle such materials at the sewage treatment plant;
9. Noxious or malodorous gas or substance capable of creating a public nuisance.

**SECTION 2.** Former Section 15-422 of the Code of the City of Lincoln Center as previously amended is hereby repealed.

**SECTION 3.**  This ordinance shall be in full force and effect from and after its adoption and publication once in the official city newspaper.

 APPROVED AND PASSED by the City Council of the City of Lincoln Center, Kansas, this 10th day of May, 2021.

 /s/ Travis Schwerdtfager

 Mayor

Attest: (seal)

/s/ Heather N. Hillegeist

City Clerk